## Index
File | Description | Notes
result_summary.csv
VV_1_PWR_100_vref_100.csv
VV_1_PWR_100_vref_100

## result_summary.csv
90%_BY_TR=1 | WITHIN_BOUNDS_BY_TR=1 | WITHIN_BOUNDS_BY_LAST_TR | V_MEAS | V_TARGET | Q_MEAS | Q_TARGET | Q_TARGET_MIN | Q_TARGET_MAX | STEP | FILENAME
Fail | Fail | Fail | 0 | 120.6 |  | 0 | -750 | 750 | Step G | VV_1_PWR_100_vref_100

## VV_1_PWR_100_vref_100.csv
TIME | AC_VRMS_1 | AC_VRMS_2 | AC_VRMS_3 | AC_IRMS_1 | AC_IRMS_2 | AC_IRMS_3 | AC_P_1 | AC_P_2 | AC_P_3 | AC_Q_1 | AC_Q_2 | AC_Q_3 | AC_S_1 | AC_S_2 | AC_S_3 | AC_PF_1 | AC_PF_2 | AC_PF_3 | AC_FREQ_1 | AC_FREQ_2 | AC_FREQ_3 | DC_V | DC_I | DC_P | TRIG | TRIG_GRID | V_MEAS | V_TARGET | Q_MEAS | Q_TARGET | Q_TARGET_MIN | Q_TARGET_MAX | EVENT